## Storage - General Market (2020)
Energy Storage Calculator Example for Scenario Analysis
Results are not guaranteed correct. Only online calculator results from selfgenca.com will be considered for reservation requests.
Updated: October 2020
Inputs: | Enter all gray fields below |  | Notes:
Incentive Step | 3 |  | See public Program Metrics to identify the current incentive step
Incentive Rate ($/Wh) | 0.25 |  | See public Program Metrics to identify the current incentive rate
System Rated Capacity (kW) | 1000
Hours Duration (hours) | 6
Battery Energy Storage Capacity (kWh) | 6000
Avg. Wh Discharge Per Hour | 1000000
Is CA Manufacturer? | No |  | Enter "Yes" if your equipment is manufactured by an SGIP-approved California manufacturer or "No" if not.
Other Onsite SGIP Storage Energy Capacity (Wh) | 0 |  | If Hours Discharge is unknown, assume a 2-hour discharge rate
Total Eligible Project Cost (TEPC) | 6000000
Investment Tax Credit (ITC) as a % ot TEPC | 22%
Other IOU Incentive | 1000
Other Non-IOU Incentive | 1000
Non-Ratepayer Incentive | 1000
General Market Non-Residential Resiliency Adder? | Yes |  | Large scale storage customers with critical resiliency needs have the option to receive a $0.15/Wh resiliency adder. See Program Handbook for details.
Opt out of resiliency operational requirements? | No |  | Applicants can choose to opt-out of resiliency operational requirements resulting in a decreased incentive. If opting into the large-scale resiliency adder, you can not opt out of resiliency operational requirements. See Program Handbook for details.
Results:
Incentive Calculation |  | Incentive Step: | 3 | Incentive Rate: $0.25 per Watt-hour
Reference Table |  | 0-2 MWH | >2-4 MWH | >4-6 MWH
0-2 HOURS |  | 100% | 50% | 25%
2-4 HOURS |  | 100% | 50% | 25%
4-6 HOURS |  | 50% | 25% | 12.5%
|  | 0-2 MWH | >2-4 MWH | >4-6 MWH
Existing Onsite Equipment Off-Set |  | 0 | 0 | 0
0-2 HOURS | 2 | 2000000 | 0 | 0
2-4 HOURS | 2 | 0 | 2000000 | 0
4-6 HOURS | 2 | 0 | 0 | 2000000
Base Equipment Incentive | [6 empty] | 812500
CA Manufacturer Adder | [6 empty] | 0
Max Equipment Incentive | [5 empty] | a) | 812500
Resiliency Adder |  | 0-2 MWH | >2-4 MWH | >4-6 MWH
Base Incentive Rate [$/Wh] |  | 0.15 | 0.15 | 0.15
Eligible Capacity [Wh] |  | 2000000 | 2000000 | 2000000
Resiliency Adder |  | 300000 | 150000 | 37500 |  | b) | 487500
Other Incentives |  | Total Dollars |  |  |  |  | Impact on SGIP Incentive
Other IOU Incentive (100%) |  | 1000 |  |  |  | c) | -1000
Other Non-IOU Incentive (50%) |  | 1000 |  |  |  | d) | -500
Non-Ratepayer Incentive (0%) |  | 1000
Investment Tax Credit (0%) |  | 1320000
Adjusted Equipment Incentive | [5 empty] | a+c+d = e) | 811000
Total Other Incentives | f) | 1323000
SGIP Incentive Adjustments |  | Equipment Incentive + | Resiliency Adder + | Total Other Incentive | <= Incentive Cap(s) |  | Incentive Adjustment
Project Incentive Cap (Equipment) | g) | 811000 | 487500 |  | 5000000 | h) | 0
Eligible Cost Cap (All Incentives) | g+h= i) | 811000 | 487500 | 1323000 | 6000000 | j) | 0
Equipment Incentive | [5 empty] | k) | 811000
Resiliency Adder Incentive | [6 empty] | 487500
Calculated SGIP Incentive | [6 empty] | 1298500
Footnotes:
* h = 0 if f <= $5M, otherwise g = $5M - f
* j= 0 if i+f <= Total Eligible Cost, otherwise j = Total Eligible Cost - (i+f)
* k = i + j

## Storage - Equity&ER (2020)
Energy Storage Calculator Example for Scenario Analysis
Results are not guaranteed correct. Only online calculator results from selfgenca.com will be considered for reservation requests.
Updated: October 2020
Inputs: | Enter all gray fields below |  | Notes:
Incentive Step | N/A |  | See public Program Metrics to identify the current incentive step
Incentive Rate ($/Wh) | 1 |  | See public Program Metrics to identify the current incentive rate
System Rated Capacity (kW) | 1000
Hours Duration (hours) | 6
Battery Energy Storage Capacity (kWh) | 6000
Avg. Wh Discharge Per Hour | 1000000
Is CA Manufacturer? | No |  | Enter "TRUE" if your equipment is manufactured by an SGIP-approved California manufacturer or "FALSE" if not.
Other Onsite SGIP Storage Energy Capacity (Wh) |  |  | If Hours Discharge is unknown, assume a 2-hour discharge rate
Total Eligible Project Cost | 6000000
Investment Tax Credit (ITC) as a % ot TEPC | 22%
Other IOU Incentive | 1000
Other Non-IOU Incentive | 1000
Non-Ratepayer Incentive | 1000
Opt out of resiliency operational requirements? | No |  | Residential Storage Equity applicants can choose to opt-out of resiliency operational requirements resulting in a decreased incentive. See Program Handbook for details.
Results:
Incentive Calculation |  | Incentive Step: | N/A | Incentive Rate: $1 per Watt-hour
Reference Table |  | 0-2 MWH | >2-4 MWH | >4-6 MWH
0-2 HOURS |  | 100% | 50% | 25%
2-4 HOURS |  | 100% | 50% | 25%
4-6 HOURS |  | 50% | 25% | 12.5%
|  | 0-2 MWH | >2-4 MWH | >4-6 MWH
Existing Onsite Equipment Off-Set |  | 0 | 0 | 0
0-2 HOURS | 2 | 2000000 | 0 | 0
2-4 HOURS | 2 | 0 | 2000000 | 0
4-6 HOURS | 2 | 0 | 0 | 2000000
Base Equipment Incentive | [5 empty] | 3250000
CA Manufacturer Adder | [5 empty] | 0
Max Equipment Incentive |  |  |  |  | a) | 3250000
Other Incentives |  | Total Dollars |  |  |  | Impact on SGIP Incentive
Other IOU Incentive |  | 1000 |  |  | b) | 0
Other Non-IOU Incentive |  | 1000 |  |  | c) | 0
Non-Ratepayer Incentive |  | 1000
Investment Tax Credit |  | 1320000
Adjusted Equipment Incentive |  |  |  |  | a+b+c = d) | 3250000
Total Other Incentives | e) | 1323000
SGIP Incentive Adjustments |  | Equipment Incentive + | Total Other Incentive | <= Incentive Cap(s) |  | Incentive Adjustment
Project Incentive Cap (Equipment) | f) | 3250000 |  | 5000000 | g) | 0
Eligible Cost Cap (All Incentives) | f+g= h) | 3250000 | 1323000 | 6000000 | i) | 0
Equipment Incentive |  |  |  |  | j) | 3250000
Calculated SGIP Incentive | [5 empty] | 3250000
Footnotes:
* g = 0 if f <= $5M, otherwise g = $5M - f
* i= 0 if h+i <= Total Eligible Cost, otherwise i = Total Eligible Cost - (h+i)
* j = h + i

## Storage - General Market (2017)
Energy Storage Calculator Example for Scenario Analysis
Results are not guaranteed correct. Only online calculator results from selfgenca.com will be considered for reservation requests.
Updated: April 2017
Inputs: | Enter all gray fields below |  | Notes:
Incentive Step | 3 |  | See public Program Metrics to identify the current incentive step
Incentive Rate ($/Wh) | 0.35 |  | See public Program Metrics to identify the current incentive rate
System Rated Capacity (kW) | 20
Hours Duration (hours) | 4
Battery Energy Storage Capacity (kWh) | 80
Avg. Wh Discharge Per Hour | 20000
Is CA Manufacturer? | FALSE |  | Enter "TRUE" if your equipment is manufactured by an SGIP-approved California manufacturer or "FALSE" if not.
Other Onsite SGIP Storage Energy Capacity (Wh) | 0 |  | If Hours Discharge is unknown, assume a 2-hour discharge rate
Total Eligible Project Cost (TEPC) | 80000
Investment Tax Credit (ITC) as a % ot TEPC | 22%
Other IOU Incentive | 1000
Other Non-IOU Incentive | 1000
Non-Ratepayer Incentive | 1000
Results:
Incentive Calculation |  | Incentive Step: | 3 | Incentive Rate: $0.35 per Watt-hour
Reference Table |  | 0-2 MWH | >2-4 MWH | >4-6 MWH
0-2 HOURS |  | 100% | 50% | 25%
2-4 HOURS |  | 50% | 25% | 12.5%
4-6 HOURS |  | 25% | 12.5% | 6.25%
|  | 0-2 MWH | >2-4 MWH | >4-6 MWH
Existing Onsite Equipment Off-Set |  | 0 | 0 | 0
0-2 HOURS | 2 | 40000 | 0 | 0
2-4 HOURS | 2 | 40000 | 0 | 0
4-6 HOURS | 0 | 0 | 0 | 0
Base Equipment Incentive | [5 empty] | 21000
CA Manufacturer Adder | [5 empty] | 0
Max Equipment Incentive |  |  |  |  | a) | 21000
Other Incentives |  | Total Dollars |  |  |  | Impact on SGIP Incentive
Other IOU Incentive (100%) |  | 1000 |  |  | b) | -1000
Other Non-IOU Incentive (50%) |  | 1000 |  |  | c) | -500
Non-Ratepayer Incentive (0%) |  | 1000
Investment Tax Credit (0%) |  | 17600
Adjusted Equipment Incentive |  |  |  |  | a+b+c = d) | 19500
Total Other Incentives | e) | 20600
SGIP Incentive Adjustments |  | Equipment Incentive + | Total Other Incentive | <= Incentive Cap(s) |  | Incentive Adjustment
Project Incentive Cap (Equipment) | f) | 19500 |  | 5000000 | g) | 0
Eligible Cost Cap (All Incentives) | f+g= h) | 19500 | 20600 | 80000 | i) | 0
Equipment Incentive |  |  |  |  | j) | 19500
Calculated SGIP Incentive | [5 empty] | 19500
Footnotes:
* g = 0 if f <= $5M, otherwise g = $5M - f
* i= 0 if h+e <= Total Eligible Cost, otherwise i = Total Eligible Cost - (h+e)
* j = h + i

## Storage - Equity&ER (2017)
Energy Storage Calculator Example for Scenario Analysis
Results are not guaranteed correct. Only online calculator results from selfgenca.com will be considered for reservation requests.
Updated: February 2020
Note that until April 1st, this calculator only applies to Single Family Residential projects applying to Residential Storage Equity or Equity Resiliency.
Inputs: |  |  | Notes:
Incentive Step | N/A |  | See public Program Metrics to identify the current incentive step
Incentive Rate ($/Wh) | 1 |  | See public Program Metrics to identify the current incentive rate
System Rated Capacity (kW) | 1000
Hours Duration (hours) | 6
Battery Energy Storage Capacity (kWh) | 6000
Avg. Wh Discharge Per Hour | 1000000
Is CA Manufacturer? | FALSE |  | Enter "TRUE" if your equipment is manufactured by an SGIP-approved California manufacturer or "FALSE" if not.
Other Onsite SGIP Storage Energy Capacity (Wh) |  |  | If Hours Discharge is unknown, assume a 2-hour discharge rate
Total Eligible Project Cost | 6000000
Investment Tax Credit (ITC) as a % ot TEPC | 22%
Other IOU Incentive | 1000
Other Non-IOU Incentive | 1000
Non-Ratepayer Incentive | 1000
Results:
Incentive Calculation |  | Incentive Step: | N/A | Incentive Rate: $1 per Watt-hour
Reference Table |  | 0-2 MWH | >2-4 MWH | >4-6 MWH
0-2 HOURS |  | 100% | 50% | 25%
2-4 HOURS |  | 100% | 50% | 25%
4-6 HOURS |  | 50% | 25% | 12.5%
|  | 0-2 MWH | >2-4 MWH | >4-6 MWH
Existing Onsite Equipment Off-Set |  | 0 | 0 | 0
0-2 HOURS | 2 | 2000000 | 0 | 0
2-4 HOURS | 2 | 0 | 2000000 | 0
4-6 HOURS | 2 | 0 | 0 | 2000000
Base Equipment Incentive | [5 empty] | 3250000
CA Manufacturer Adder | [5 empty] | 0
Max Equipment Incentive |  |  |  |  | a) | 3250000
Other Incentives |  | Total Dollars |  |  |  | Impact on SGIP Incentive
Other IOU Incentive |  | 1000 |  |  | b) | 0
Other Non-IOU Incentive |  | 1000 |  |  | c) | 0
Non-Ratepayer Incentive |  | 1000
Investment Tax Credit |  | 1320000
Adjusted Equipment Incentive |  |  |  |  | a+b+c = d) | 3250000
Total Other Incentives | e) | 1323000
SGIP Incentive Adjustments |  | Equipment Incentive + | Total Other Incentive | <= Incentive Cap(s) |  | Incentive Adjustment
Project Incentive Cap (Equipment) | f) | 3250000 |  | 5000000 | g) | 0
Eligible Cost Cap (All Incentives) | f+g= h) | 3250000 | 1323000 | 6000000 | i) | 0
Equipment Incentive |  |  |  |  | j) | 3250000
Calculated SGIP Incentive | [5 empty] | 3250000
Footnotes:
* g = 0 if f <= $5M, otherwise g = $5M - f
* i= 0 if h+i <= Total Eligible Cost, otherwise i = Total Eligible Cost - (h+i)
* j = h + i

## Generation (2020)
Generation Calculator Example for Scenario Analysis
Results are not guaranteed correct. Only online calculator results from selfgenca.com will be considered for reservation requests.
Updated: October 2020
Inputs: | Enter all gray fields below | Notes:
Program Year | 2020 | Select the current year
Step | 1 | Refer to the Step Tracker in the public Program Metrics page to identify the currently active step
Equipment Type | Wind
Equipment Type Incentive Rate | 2 | Refer to the Incentive Tracker in the public Program Metrics page to identify the corresponding incentive rate for your equipment type
Total Requested Equipment Capacity (kW) | 2500
Is CA Manufacturer? | TRUE
Previous SGIP Generation Capacity (kW) |  | Amount of existing or paired generation capacity that is or will be incentiviced by SGIP
Is Export to Grid? | no
Equipment Capacity Factor | 0.25
Expected Onsite Load (kWh/year) |  | Only required if this is an Export to Grid project.
Eligible Capacity Override (W) | 0
Is the equipment Fueled? | FALSE
% of Fuel From Renewable Source | 100% | Fuel blending minum is 10% in 2017, 25% in 2018, 50% in 2019, and 100% in 2020
% of Fuel From Non-Renewable Source | 0%
Biogas Incentive Rate ($/Watt) | 0.6
Minimum Fuel Blending Percentage | 100%
Is Renewable Fuel Onsite? | TRUE
Natural Gas Contract Price ($/MMBtu) | 50
Directed Biogas Contract Price ($/MMBtu) | 50 | Only required if the renewable fuel is directed.
Generator System Heat Rate (Btu/kWh) | 100
Annual Fuel Consumption (MMBtu) | 547.5
DBG Contract Premium | 0 | 10 Year Contract Premium
Total Project Cost | 10000000
Other IOU Incentive | 10000
Other Non-IOU Incentive | 10000
Non-Ratepayer Incentive | 10000
ITC as a % of TEPC | 0%
Renewable Generation Resiliency Adder? | TRUE
Results:
Incentive Calculation |  | Current Step: 1 |  |  | Incentive Rate: $2 per Watt
Equipment Incentive |  | 0-1 MW | >1-2 MW | >2-3 MW |  |  | Total Dollars
Incentive Rate [$/W] |  | 2 | 1.5 | 1
Previous SGIP Capacity [W] |  | 0 | 0 | 0 |  |  | 0
Capacity [W] |  | 1000000 | 1000000 | 500000 |  |  | 2500000
Eligible Capacity [W] |  | 1000000 | 1000000 | 500000 |  |  | 2500000
Base Equipment Incentive |  | 2000000 | 1500000 | 500000 |  |  | 4000000
CA Manufacturer Adder |  | 400000 | 300000 | 100000 |  |  | 800000
Max Equipment Incentive |  | 2400000 | 1800000 | 600000 |  | a) | 4800000
Renewable Generation Resiliency Adder
Incentive Rate [$/W] |  | 2.5 | 1.875 | 1.25
Eligible Capacity [W] |  | 1000000 | 1000000 | 500000
Resiliency Adder |  | 2500000 | 1875000 | 625000 |  | b) | 5000000
Other Incentives |  | Total Dollars |  |  |  |  | Impact on SGIP Incentive
Other IOU Incentive (100%) |  | 10000 |  |  |  | c) | -10000
Other Non-IOU Incentive (50%) |  | 10000 |  |  |  | d) | -5000
Non-Ratepayer Incentive (0%) |  | 10000
Investment Tax Credit (0%) |  | 0
Adjusted Equipment Incentive | [5 empty] | a+c+d = e) | 4785000
Total Other Incentives | f) | 30000
SGIP Incentive Adjustments |  | Equipment Incentive + | Resiliency Adder + | Total Other Incentive | <= Incentive Cap(s) |  | Incentive Adjustment
Project Incentive Cap (Equipment and Biogas) | g) | 4785000 | 5000000 |  | 5000000 | h) | -4785000
Eligible Cost Cap (All Incentives) | g+h=i) | 0 | 5000000 | 30000 | 10000000 | j) | 0
Equipment Incentive | [5 empty] | k) | 0
Elgible Resiliency Generation Adder | [6 empty] | 5000000
Calculated SGIP Incentive | [6 empty] | 5000000
Footnotes:
* h = 0 if e+b <= $5M, otherwise i = $5M - (e+b)
* j = 0 if e+b+f <= Total Eligible Cost, otherwise j = Total Eligible Cost - (e+b+f)
* k = i + j

## Generation (2017)
Generation Calculator Example for Scenario Analysis
Results are not guaranteed correct. Only online calculator results from selfgenca.com will be considered for reservation requests.
Updated: April 2017
Inputs: | Enter all gray fields below | Notes:
Program Year | 2020 | Select the current year
Step | 1 | Refer to the Step Tracker in the public Program Metrics page to identify the currently active step
Equipment Type | Gas Turbine
Equipment Type Incentive Rate | 2 | Refer to the Incentive Tracker in the public Program Metrics page to identify the corresponding incentive rate for your equipment type
Total Requested Equipment Capacity (kW) | 20000
Is CA Manufacturer? | TRUE
Previous SGIP Generation Capacity (kW) |  | Amount of existing or paired generation capacity that is or will be incentiviced by SGIP
Is Export to Grid? | no
Equipment Capacity Factor | 0.8
Expected Onsite Load (kWh/year) |  | Only required if this is an Export to Grid project.
Eligible Capacity Override (W) | 0
Is the equipment Fueled? | TRUE
% of Fuel From Renewable Source | 100% | Fuel blending minum is 10% in 2017, 25% in 2018, 50% in 2019, and 100% in 2020
% of Fuel From Non-Renewable Source | 0%
Biogas Incentive Rate ($/Watt) | 0.6
Minimum Fuel Blending Percentage | 100%
Is Renewable Fuel Onsite? | TRUE
Natural Gas Contract Price ($/MMBtu) | 50
Directed Biogas Contract Price ($/MMBtu) | 50 | Only required if the renewable fuel is directed.
Generator System Heat Rate (Btu/kWh) | 100
Annual Fuel Consumption (MMBtu) | 14016
DBG Contract Premium | 0 | 10 Year Contract Premium
Total Project Cost | 0
Other IOU Incentive | 1000
Other Non-IOU Incentive | 1000
Non-Ratepayer Incentive | 1000
ITC as a % of TEPC | 0%
Results:
Incentive Calculation |  | Current Step: 1 |  |  | Incentive Rate: $2 per Watt
Equipment Incentive |  | 0-1 MW | >1-2 MW | >2-3 MW |  |  | Total Dollars
Incentive Rate [$/W] |  | 2 | 1.5 | 1
Previous SGIP Capacity [W] |  | 0 | 0 | 0 |  |  | 0
Capacity [W] |  | 1000000 | 1000000 | 1000000 |  |  | 3000000
Eligible Capacity [W] |  | 1000000 | 1000000 | 1000000 |  |  | 3000000
Base Equipment Incentive |  | 2000000 | 1500000 | 1000000 |  |  | 4500000
CA Manufacturer Adder |  | 400000 | 300000 | 200000 |  |  | 900000
Max Equipment Incentive |  | 2400000 | 1800000 | 1200000 |  | a) | 5400000
Biogas Adder
Incentive Rate [$/W] |  | 0.6 | 0.6 | 0.6
Eligible Capacity [W] |  | 1000000 | 1000000 | 1000000
Pro-Rated Biogas Capacity |  | 0 | 0 | 0
Pro-Rated Biogas Adder Ammount |  | 0 | 0 | 0 |  | b) | 0
DBG Premium Cap | [5 empty] | c)
Adjusted Biogas Adder | [5 empty] | [Lesser of b or c] d) | 0
Other Incentives |  | Total Dollars |  |  |  |  | Impact on SGIP Incentive
Other IOU Incentive (100%) |  | 1000 |  |  |  | e) | -1000
Other Non-IOU Incentive (50%) |  | 1000 |  |  |  | f) | -500
Non-Ratepayer Incentive (0%) |  | 1000
Investment Tax Credit (0%) |  | 0
Adjusted Equipment Incentive | [5 empty] | a+e+f = g) | 5398500
Total Other Incentives | h) | 3000
SGIP Incentive Adjustments |  | Equipment Incentive + | Biogas Adder + | Total Other Incentive | <= Incentive Cap(s) |  | Incentive Adjustment
Project Incentive Cap (Equipment and Biogas) | i) | 5398500 | 0 |  | 5000000 | j) | -398500
Eligible Cost Cap (All Incentives) | i+j=k) | 5000000 | 0 | 3000 | 0 | l) | -5003000
Equipment Incentive | [5 empty] | m) | 0
Biogas Incentive | [6 empty] | 0
Calculated SGIP Incentive | [6 empty] | 0
Footnotes:
* j = 0 if g+d <= $5M, otherwise k = $5M - (g+d)
* l = 0 if g+d+h <= Total Eligible Cost, otherwise l = Total Eligible Cost - (g+d+h)
* m = k + l

## Form FIlls (hidden)
Equipment Type | Step 1 | Step 2 | Step 3 |  |  |  | Program Year | Minimum Fuel Blending
Wind | 0.9 | 0.8 | 0.7 |  |  | Step 1 | 2017 | 10%
Pressure Reduction Turbine | 0.6 | 0.5 | 0.4 |  |  | Step 2 | 2018 | 25%
Waste Heat to Power | 0.6 | 0.5 | 0.4 |  |  | Step 3 | 2019 | 50%
Steam Turbine | 0.6 | 0.5 | 0.4 |  |  |  | 2020 | 100%
Gas Turbine | 0.6 | 0.5 | 0.4
Internal Combustion Engine | 0.6 | 0.5 | 0.4
Fuel Cell Electric | 0.6 | 0.5 | 0.4
Fuel Cell CHP | 0.6 | 0.5 | 0.4
Biogas | 0.6 | 0.6 | 0.6
Equipment Type | Step 1 | Step 2 | Step 3 | Step 4 | Step 5
Energy Storage + ITC | 0.36 | 0.31 | 0.26 | 0.21 | 0.16
Energy Storage | 0.5 | 0.45 | 0.4 | 0.35 | 0.3
Program Years | Generation Steps | Storage Steps | Is Export to Grid
2017 | 1 | 1 | yes | Yes | No
2018 | 2 | 2 | no | No
2019 | 3 | 3
2020 |  | 4
5